## SUMMARY
Refurbishment and installation of water storage at schools in St. Kitts and Nevis
BILL OF QUANTITY
Item no. | Description of Item | LUMP SUM (USD)
1 | INSTALLATION OF NEW WATER SYSTEMS
1.01 | Charlestown PreSchool - installation of 1 X 600 gallons water tank on roof (specific BOQ included)
1.02 | Charlestown Primary School - installation 4 X 1,000 gallons water tanks and water pump (specific BOQ included)
1.03 | Charlestown Secondary - installation of 6 X 1,000 gallons water tanks on roof (specific BOQ included)
1.04 | Cayon Primary School - installation of 3 X 1,000 gallons water tanks and installation of water pump (specific BOQ included)
1.05 | Dr. William Connor Primary - installation of 4 X 1,000 gallons water tanks and installation of water pump (specific BOQ included)
1.06 | Saddlers Nursery - installation of 1 X 400 gallons water tanks on roof (specific BOQ included)
1.07 | Sandy Point Pre-School - installation of 1 X 600 gallons water tank and water pump (specific BOQ included)
1.08 | Sandy Point Nursery - installation of 1 X 600 gallons water tank and water pump (specific BOQ included)
1.09 | Dieppe Bay Day Care - installation of 2 X 400 gallons water tanks (1 tank already on site but not installed) and water pump (specific BOQ included)
1.1 | Tabernacle Day Care - installation of 2 X 400 gallons water tanks and water pump (specific BOQ included)
1.11 | Industrial Site - installation of 4 X 600 gallons water tanks and installation of water pump (specific BOQ included)
1.12 | Mc Kinght Day Care - installation of 2 X 600 gallons water tanks on roof (specific BOQ included)
GRAND TOTAL

## Charlestown PreSc
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
CHARLESTOWN PRESCHOOL, NEVIS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
TANK and PLUMBING
1 | 600 Gallons Black Tuff Tank | 1 | each | PROCURED BY THE 5Cs
2 | 1" Float Valve (complete with ball) | 1 | each
3 | 1" PRV /20-100 psi | 1 | each
4 | 1" Check valve | 1 | each
5 | 1" Sch 40 PVC pipe | 40 | feet
6 | 1" Sch 40 PVC Male adaptors | 4 | each
7 | 1" Sch 40 PVC Female adaptors | 2 | each
8 | 1" Sch 40 PVC Elbows | 4 | each
9 | 1" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1" Stop valve | 4 | each
11 | 1" Sch 40 PVC Union | 2 | each
12 | 1" Sch 40 PVC Tee | 2 | each
13 | 1 1/4" x 1" Reducer | 2 | each
14 | 1" x 1/2" Reducer | 2 | each
15 | 1/2" Sch 40 PVC Tees | 2 | each
16 | 1/2" Sch 40 PVC45 Degree bends | 2 | each
17 | 1/2" Sch 40 PVC Couplings | 2 | each
18 | Litre PVC Cement | 1 | each
19 | Tie down assembly | 1 | lump sum
20 | Material Cost Sub-Total
21 | Labour Cost Sub-Total
22 | Preliminaries (Mobilisation, transportation, storage etc.)
23 | Contingencies
24 | TOTAL

## Charlestown Primary
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
CHARLESTOWN PRIMARY SCHOOL, NEVIS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1.5 HP Goulds Pump | 1 | each
2 | 120 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 4mm Twin and Earth Cable | 100 | feet
15 | 1" Electrical Conduit | 100 | feet
16 | 1" Metal Straps | 30 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | lump sum
TANK and PLUMBING
24 | 1000 Gallons Black Tuff Tank | 4 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 4 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 4 | each
28 | 1" Sch 40 PVC pipe | 75 | feet
29 | 1" Sch 40 PVC Male adaptors | 16 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 16 | each
32 | 1" Sch 40 PVC 45 Degree bend | 8 | each
33 | 1" Stop valve | 8 | each
34 | 1" Sch 40 Union | 8 | each
35 | 1 1/4" x 1" Reducer | 2 | each
36 | 1" x 1/2" Reducer | 2 | each
37 | 1/2" Sch 40 PVC Tees | 6 | each
38 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
39 | 1/2" Sch 40 PVC Couplings | 4 | each
40 | Litre PVC Cement | 1 | each
41 | Tie down assembly | 1 | sum
BASE (256 sq ft)
42 | 3500 psi Concrete | 3 | cu yds
43 | A142 BRC Fabric | 2 | sheets
44 | 2" x 4" wpp lumber | 90 | L.F
45 | 1/2" rebar | 1 | length
46 | 3 1/2" Galvanise nails | 1 | lb
47 | Material Cost Sub-Total
48 | Labour Cost Sub-Total
49 | Preliminaries (Mobilisation, transportation, storage etc.)
50 | Contingencies
51 | TOTAL

## Charlestown Secondary
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
CHARLESTOWN SECONDARY SCHOOL, NEVIS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
TANK and PLUMBING
1 | 1000 Gallons Black Tuff Tank | 6 | each | PROCURED BY THE 5Cs
2 | 1" Float Valve (complete with ball) | 6 | each
3 | 1" PRV /20-100 psi | 1 | each
4 | 1" Check valve | 6 | each
5 | 1" Sch 40 PVC pipe | 200 | feet
6 | 1" Sch 40 PVC Male adaptors | 10 | each
7 | 1" Sch 40 PVC Female adaptors | 6 | each
8 | 1" Sch 40 PVC Elbows | 10 | each
9 | 1" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1" Stop valve | 4 | each
11 | 1" PVC Sch 40 Union | 12 | each
12 | 1 1/4" x 1" Reducer | 2 | each
13 | 1" x 1/2" Reducer | 2 | each
14 | 1/2" Sch 40 PVC Tees | 2 | each
15 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
16 | 1/2" Sch 40 PVC Couplings | 4 | each
17 | Litre PVC Cement | 1 | each
18 | Tie down assembly | 1 | lump sum
20 | Material Cost Sub-Total
21 | Labour Cost Sub-Total
22 | Preliminaries (Mobilisation, transportation, storage etc.)
23 | Contingencies
24 | TOTAL

## Cayon Primary
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
CAYON PRIMARY SCHOOL, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1.5 HP Goulds Pump | 1 | each
2 | 120 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 4mm Twin and Earth Cable | 200 | feet
15 | 1" Electrical Conduit | 200 | feet
16 | 1" Metal Straps | 50 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | lump sum
TANK and PLUMBING
24 | 1000 Gallons Black Tuff Tank | 3 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 2 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 2 | each
28 | 1" Sch 40 PVC pipe | 200 | feet
29 | 1" Sch 40 PVC Male adaptors | 12 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 10 | each
32 | 1" Sch 40 PVC 45 Degree bend | 6 | each
33 | 1" Stop valve | 6 | each
34 | 1" Sch 40 PVC Tees | 6
35 | 1" Sch 40 Unions | 6
36 | 1 1/4" x 1" Reducer | 2 | each
37 | 1" x 1/2" Reducer | 2 | each
38 | 1/2" Sch 40 PVC Tees | 2 | each
39 | 1/2" Sch 40 PVC Couplings | 4 | each
40 | Litre PVC Cement | 1 | each
41 | Tie down assembly | 1 | lump sum
BASE (128 sq ft)
42 | 3500 psi Concrete | 2.5 | cu yds
43 | A142 BRC Fabric | 2 | sheets
44 | 2" x 4" wpp lumber | 75 | L.F
45 | 1/2" rebar | 1 | length
46 | 3 1/2" Galvanise nails | 1 | lb
47 | Material Cost Sub-Total
48 | Labour Cost Sub-Total
49 | Preliminaries (Mobilisation, transportation, storage etc.)
50 | Contingencies
51 | TOTAL

## Dr William Connor Primary
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
DR. WILLIAM CONNOR PRIMARY SCHOOL, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1.5 HP Goulds Pump | 1 | each
2 | 120 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 4mm Twin and Earth Cable | 100 | feet
15 | 1" Electrical Conduit | 100 | feet
16 | 1" Metal Straps | 30 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | lump sum
TANK and PLUMBING
24 | 1000 Gallons Black Tuff Tank | 4 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 4 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 4 | each
28 | 1" Sch 40 PVC pipe | 75 | feet
29 | 1" Sch 40 PVC Male adaptors | 16 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 16 | each
32 | 1" Sch 40 PVC 45 Degree bend | 8 | each
33 | 1" Stop valve | 8 | each
34 | 1" Sch 40 PVC Unions | 8 | each
35 | 1" Sch 40 Tees | 8 | each
36 | 1 1/4" x 1" Reducer | 2 | each
37 | 1" x 1/2" Reducer | 2 | each
38 | 1/2" Sch 40 PVC Tees | 6 | each
39 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
40 | 1/2" Sch 40 PVC Couplings | 4 | each
41 | Litre PVC Cement | 1 | each
42 | Tank small fittings | 1 | lump sum
43 | Tie down assembly | 1 | lump sum
BASE (256 sq ft)
44 | 3500 psi Concrete | 3 | cu yds
45 | A142 BRC Fabric | 2 | sheets
46 | 2" x 4" wpp lumber | 90 | L.F
47 | 1/2" rebar | 1 | length
48 | 3 1/2" Galvanise nails | 1 | lb
49 | Material Cost Sub-Total
50 | Labour Cost Sub-Total
51 | Preliminaries (Mobilisation, transportation, storage etc.)
52 | Contingencies
53 | TOTAL

## Saddlers Nursery
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
SADDLERS NURSERY, ST.KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
TANK and PLUMBING
1 | 400 Gallons Black Tuff Tank | 1 | each | PROCURED BY THE 5Cs
2 | 1" Float Valve (complete with ball) | 1 | each
3 | 1" PRV /20-100 psi | 1 | each
4 | 1" Check valve | 1 | each
5 | 1" Sch 40 PVC pipe | 40 | feet
6 | 1" Sch 40 PVC Male adaptors | 4 | each
7 | 1" Sch 40 PVC Female adaptors | 2 | each
8 | 1" Sch 40 PVC Elbows | 4 | each
9 | 1" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1" Stop valve | 4 | each
11 | 1 1/4" x 1" Reducer | 2 | each
12 | 1" x 1/2" Reducer | 2 | each
13 | 1/2" Sch 40 PVC Tees | 2 | each
14 | 1/2" Sch 40 PVC45 Degree bends | 2 | each
15 | 1/2" Sch 40 PVC Couplings | 2 | each
16 | Litre PVC Cement | 1 | each
17 | Tie down assembly | 1 | lump sum
18 | Material Cost Sub-Total
19 | Labour Cost Sub-Total
20 | Preliminaries (Mobilisation, transportation, storage etc.)
21 | Contingencies
22 | TOTAL

## S Point Preschool
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
SANDY POINT PRESCHOOL, ST.KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1 HP Goulds Pump | 1 | each
2 | 85 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 2.5mm Twin and Earth Cable | 100 | feet
15 | 1" Electrical Conduit | 100 | feet
16 | 1" Metal Straps | 40 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | sum
TANK and PLUMBING
24 | 600 Gallons Black Tuff Tank | 1 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 1 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 1 | each
28 | 1" Sch 40 PVC pipe | 100 | feet
29 | 1" Sch 40 PVC Male adaptors | 10 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 10 | each
32 | 1" Sch 40 PVC 45 Degree bend | 2 | each
33 | 1" Stop valve | 4 | each
34 | 1 1/4" x 1" Reducer | 2 | each
35 | 1" x 1/2" Reducer | 2 | each
36 | 1/2" Sch 40 PVC Tees | 2 | each
37 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
38 | 1/2" Sch 40 PVC Couplings | 4 | each
39 | Litre PVC Cement | 1 | each
40 | Tie down assembly | 1 | sum
20 | Material Cost Sub-Total
21 | Labour Cost Sub-Total
22 | Preliminaries (Mobilisation, transportation, storage etc.)
23 | Contingencies
24 | TOTAL

## SP Nursery
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
SANDY POINT NURSERY, ST.KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1 HP Goulds Pump | 1 | each
2 | 85 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 2.5mm Twin and Earth Cable | 100 | feet
15 | 1" Electrical Conduit | 100 | feet
16 | 1" Metal Straps | 20 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | sum
TANK and PLUMBING
24 | 600 Gallons Black Tuff Tank | 1 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 1 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 1 | each
28 | 1" Sch 40 PVC pipe | 60 | feet
29 | 1" Sch 40 PVC Male adaptors | 10 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 10 | each
32 | 1" Sch 40 PVC 45 Degree bend | 2 | each
33 | 1" Stop valve | 4 | each
34 | 1 1/4" x 1" Reducer | 2 | each
35 | 1" x 1/2" Reducer | 2 | each
36 | 1/2" Sch 40 PVC Tees | 2 | each
37 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
38 | 1/2" Sch 40 PVC Couplings | 4 | each
39 | Litre PVC Cement | 1 | each
40 | Tie down assembly | 1 | sum
BASE (36 sq ft)
41 | 3500 psi Concrete | 0.5 | cu yds
42 | A142 BRC Fabric | 1 | sheets
43 | 2" x 4" wpp lumber | 30 | L.F
44 | 1/2" rebar | 1 | length
45 | 3 1/2" Galvanise nails | 1 | lb
49 | Material Cost Sub-Total
50 | Labour Cost Sub-Total
51 | Preliminaries (Mobilisation, transportation, storage etc.)
52 | Contingencies
53 | TOTAL

## D Bay Primary
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
DIEPPE BAY PRIMARY SCHOOL, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1 HP Goulds Pump | 1 | each
2 | 85 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 2.5mm Twin and Earth Cable | 100 | feet
15 | 1" Electrical Conduit | 100 | feet
16 | 1" Metal Straps | 40 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | sum
TANK and PLUMBING
24 | 400 Gallons Black Tuff Tank | 1 | each | PROCURED BY THE 5Cs
25 | 400 Gallons Black Tuff Tank | 1 | uninstalled tank owned by school | -
26 | 1" Float Valve (complete with ball) | 1 | each
27 | 1" PRV /20-100 psi | 1 | each
28 | 1" Check valve | 1 | each
29 | 1" Sch 40 PVC pipe | 100 | feet
30 | 1" Sch 40 PVC Male adaptors | 10 | each
31 | 1" Sch 40 PVC Female adaptors | 6 | each
32 | 1" Sch 40 PVC Elbows | 10 | each
33 | 1" Sch 40 PVC 45 Degree bend | 2 | each
34 | 1" Stop valve | 4 | each
35 | 1" Sch 40 PVC Union | 4 | each
36 | 1" Sch 40 Tees | 4 | each
37 | 1 1/4" x 1" Reducer | 2 | each
38 | 1" x 1/2" Reducer | 2 | each
39 | 1/2" Sch 40 PVC Tees | 2 | each
40 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
41 | 1/2" Sch 40 PVC Couplings | 4 | each
42 | Litre PVC Cement | 1 | each
43 | Tie down assembly | 1 | sum
BASE (40 sq ft)
44 | 3500 psi Concrete | 0.5 | cu yds
45 | A142 BRC Fabric | 1 | sheets
46 | 2" x 4" wpp lumber | 36 | L.F
47 | 1/2" rebar | 1 | length
48 | 3 1/2" Galvanise nails | 1 | lb
49 | Material Cost Sub-Total
50 | Labour Cost Sub-Total
51 | Preliminaries (Mobilisation, transportation, storage etc.)
52 | Contingencies
53 | TOTAL

## Tabernacle DayC
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
TABERNACLE DAYCARE, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1 HP Goulds Pump | 1 | each
2 | 85 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 2.5mm Twin and Earth Cable | 75 | feet
15 | 1" Electrical Conduit | 75 | feet
16 | 1" Metal Straps | 20 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | sum
TANK and PLUMBING
24 | 400 Gallons Black Tuff Tank | 2 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 2 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 2 | each
28 | 1" Sch 40 PVC pipe | 300 | feet
29 | 1" Sch 40 PVC Male adaptors | 10 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 10 | each
32 | 1" Sch 40 PVC 45 Degree bend | 4 | each
33 | 1" Stop valve | 4 | each
34 | 1" Sch 40 PVC Union | 4 | each
35 | 1" Sch 40 Tees | 4 | each
36 | 1" Sch 40 Union | 4 | each
37 | 1" Sch 40 PVC Tees | 4 | each
38 | 1 1/4" x 1" Reducer | 2 | each
39 | 1" x 1/2" Reducer | 2 | each
40 | 1/2" Sch 40 PVC Tees | 2 | each
41 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
42 | 1/2" Sch 40 PVC Couplings | 4 | each
43 | Litre PVC Cement | 1 | each
44 | Tie down assembly | 1 | sum
BASE (60 sq ft)
45 | 3500 psi Concrete | 1 | cu yds
46 | A142 BRC Fabric | 1 | sheets
47 | 2" x 4" wpp lumber | 36 | L.F
48 | 1/2" rebar | 1 | length
49 | 3 1/2" Galvanise nails | 1 | lb
50 | Material Cost Sub-Total
51 | Labour Cost Sub-Total
52 | Preliminaries (Mobilisation, transportation, storage etc.)
53 | Contingencies
54 | TOTAL

## Industrial Site
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
INDUSTRIAL SITE DAYCARE, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
PUMP and ELECTRICAL
1 | 1.5 HP Goulds Pump | 1 | each
2 | 120 Gallon Pressure Tank | 1 | each
3 | 1 1/4" Foot valve | 1 | each
4 | 1 1/4" Check valve | 1 | each
5 | 1 1/4" Sch 40 PVC pipe | 80 | feet
6 | 1 1/4" Sch 40 PVC Male adaptors | 2 | each
7 | 1 1/4" Sch 40 PVC Female adaptors | 2 | each
8 | 1 1/4" Sch 40 PVC Elbows | 2 | each
9 | 1 1/4" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1/2" Sch 40 PVCpipes | 80 | feet
11 | 1" Stop valve | 2 | each
12 | 1" Check valve | 2 | each
13 | Fix Appliance Switch | 1 | each
14 | 4mm Twin and Earth Cable | 200 | feet
15 | 1" Electrical Conduit | 200 | feet
16 | 1" Metal Straps | 50 | each
17 | Tapcon Screws | 1 | box
18 | Lag bolts | 8 | each
19 | 1/2" Sch 40 PVC Elbows - 20 ft lgth | 12 | lengths
20 | 1/2" Sch 40 PVC 45 Degree bends | 12 | each
21 | 1/2" Sch 40 PVC Couplings | 6 | each
22 | Tin PVC cement | 1 | Litre
23 | Enclosure for pump and pressure tank | 1 | sum
TANK and PLUMBING
24 | 600 Gallons Black Tuff Tank | 4 | each | PROCURED BY THE 5Cs
25 | 1" Float Valve (complete with ball) | 1 | each
26 | 1" PRV /20-100 psi | 1 | each
27 | 1" Check valve | 1 | each
28 | 1" Sch 40 PVC pipe | 50 | feet
29 | 1" Sch 40 PVC Male adaptors | 16 | each
30 | 1" Sch 40 PVC Female adaptors | 6 | each
31 | 1" Sch 40 PVC Elbows | 10 | each
32 | 1" Sch 40 PVC 45 Degree bend | 4 | each
33 | 1" Stop valve | 8 | each
34 | 1" Sch 40 PVC Union | 8 | each
35 | 1" Sch 40 PVC Tees | 8 | each
36 | 1 1/4" x 1" Reducer | 2 | each
37 | 1" x 1/2" Reducer | 2 | each
38 | 1/2" Sch 40 PVC Tees | 2 | each
39 | 1/2" Sch 40 PVC45 Degree bends | 8 | each
40 | 1/2" Sch 40 PVC Couplings | 4 | each
41 | Litre PVC Cement | 1 | each
42 | Tie down assembly | 1 | sum
BASE (96 sq ft)
43 | 3500 psi Concrete | 2 | cu yds
44 | A142 BRC Fabric | 2 | sheets
45 | 2" x 4" wpp lumber | 70 | L.F
46 | 1/2" rebar | 1 | length
47 | 3 1/2" Galvanise nails | 1 | lb
48 | Material Cost Sub-Total
49 | Labour Cost Sub-Total
50 | Preliminaries (Mobilisation, transportation, storage etc.)
51 | Contingencies
52 | TOTAL

## McKnight Daycare
ESTIMATES FOR INSTALLING EMERGENCY WATER STORAGE SYSTEM (refer to technical specifications for instructions to obtain actual figures)
at
MCKNIGHT DAYCARE, ST. KITTS
# | DESCRIPTION | QUAN | UNIT | COST (USD)
TANK and PLUMBING
1 | 600 Gallons Black Tuff Tank | 2 | each | PROCURED BY THE 5Cs
2 | 1" Float Valve (complete with ball) | 1 | each
3 | 1" PRV /20-100 psi | 1 | each
4 | 1" Check valve | 1 | each
5 | 1" Sch 40 PVC pipe | 50 | feet
6 | 1" Sch 40 PVC Male adaptors | 10 | each
7 | 1" Sch 40 PVC Female adaptors | 6 | each
8 | 1" Sch 40 PVC Elbows | 10 | each
9 | 1" Sch 40 PVC 45 Degree bend | 2 | each
10 | 1" Stop valve | 4 | each
11 | 1" Sch 40 PVC Union | 4 | each
12 | 1" Sch 40 PVC Tees | 4 | each
13 | 1 1/4" x 1" Reducer | 2 | each
14 | 1" x 1/2" Reducer | 2 | each
15 | 1/2" Sch 40 PVC Tees | 2 | each
16 | 1/2" Sch 40 PVC45 Degree bends | 4 | each
17 | 1/2" Sch 40 PVC Couplings | 4 | each
18 | Litre PVC Cement | 1 | each
19 | Tie down assembly | 1 | lump sum
20 | Material Cost Sub-Total
21 | Labour Cost Sub-Total
22 | Preliminaries (Mobilisation, transportation, storage etc.)
23 | Contingencies
24 | TOTAL